## Slide 1
Advantages
Flow regularity
Lower cost than other sources
Environmental benefits (ecological flows)
Generation of resources, saving higher quality water for priority uses
Quality water on demand
WATER REUSE
Disadvantages
Lack of specific regulations
Lack of control to ensure quality (sanitary terms)
Social reticence (public acceptance and stakeholders interest)
New pollutants

## Slide 2
PRE-TREATMENT
Sediment Screening, Grit Removal
FILTRATION SYSTEMS
Membrane,
Sand
DISINFECTION
UV, Chlorination
Wastewater
Reverse Osmosis
RECLAIMED WATER

## Slide 3
Public acceptance
Degree of human contact
Low
High
High
Environmental (freshwater barrier, rivers, wetlands)
Industrial
Agricultural (restricted irrigation)
Agricultural (unrestricted irrigation)
Non-potable (public areas)
Non-potable (residential)
Indirect potable
Direct potable